## Cover
| Ver 21 | 2021-10-19
36 Bradfield Road, West Lindfield NSW 2070
6B/0 ANALYSIS SPREADSHEET
This spreadsheet should be used in conjunction with 6B/0.
This spreadsheet has been provided by the Commonwealth free of charge for the purpose of facilitating the 6B/0 analysis.
Every effort has been made to ensure the accuracy of this spreadsheet. However, the Commonwealth does not guarantee, and accepts no legal liability whatsoever arising from or connected to, the accuracy, reliability, currency or completeness of any material contained within this spreadsheet.
The Commonwealth recommends that users exercise their own skill and care with respect to their use of this spreadsheet and that users carefully evaluate the accuracy, currency, completeness and relevance of this spreadsheet for their purposes.
The Commonwealth disclaims to the extent permitted by law, all liability (including negligence) for claims of losses, expenses, damages and costs the user may incur as a result of the use of this spreadsheet.
This spreadsheet is not a substitute for independent professional advice and users should obtain any appropriate professional advice relevant to their particular circumstances.

## Instrument specs
NATIONAL MEASUREMENT INSTITUTE
Ver 21
INSTRUMENT SPECIFICATIONS
| Report No.: | [6 empty] | Date: |  | (dd/mm/yy)
Name of person carrying out analysis:
Position of person carrying out analysis:
Organisation:
Conversion Certificate of Approval no.:
Instrument Certificate of Approval no.:
| Certificate of Approval expiry date: |  | (dd/mm/yy)
Make:
Model:
| Operation: | Manufacture of new instrument
| Instrument type: | Full load cell
| Capacity type: | Single range
| Receptor type: | Platform
| Number of load cells: | [9 empty] | inst_R_calcs
| Lever ratio: |  |  | Do not complete this field. | [6 empty] | 1
| H/J ratio: |  |  | Do not complete this field.
| Dead load: |  | kg
| Dead load range required ? | Yes
| Platform length: |  | m
| Platform width: |  | m
| Single range | Complete this section | [8 empty] | No. e factor (SR) | Inst_sing_max_factor |  | Inst_sing_e_factor
| Maximum Capacity: |  | kg |  |  | e: |  | kg |  |  | 1 | 1 |  | 1
No. e
e1<e2<e3…criteria
| Multi-interval or multiple range |  | Do not complete this section | [9 empty] | OK
|  | from |  | to |  |  | e |  | No. e |  |  | No. e | ei<e(i+1) | [5 empty] | R76-1 Table 4 calculation
| Range 1: |  | kg |  | kg | e1: |  | kg |  |  |  | 0 | [5 empty] | Table4_Max1_div_e2 = |  | 0
| Range 2: |  | kg |  | kg | e2: |  | kg |  |  |  | 0 |  |  |  | inst_e3_factor = | 500000 | Table4_Max2_div_e3 = |  | 0
| Range 3: |  | kg |  | kg | e3: |  | kg |  |  |  | 0 |  |  |  | inst_e4_factor = | 1000000 | Table4_Max3_div_e4 = |  | 0
| Range 4: |  | kg |  | kg | e4: |  | kg |  |  |  | 0 | [7 empty] | Table 4 OK
[11 empty] | No. e factor (MR) | 0 | = no. ranges/intervals (ie., inst_maxer)
|  | Range units: |  | kg |  |  | e units: | kg |  |  | 1
| Note: "e" = Verification Scale Interval. | [10 empty] | Inst_multi_max_factor |  | Inst_multi_e_factor
| This space for user notes (these are not included in reports). | [10 empty] | 1 |  | 1
[12 empty] | Inst_multi_no_e_greatest |  |  | 0
[12 empty] | Inst_multi_no_e_least |  |  | 0
Note on F17: See note at bottom of 6B0 Analysis sheet or report sheet - Conversion with load cell replacement may not be possible.
Note on G11: Enter "N/A" if the analysis is for manufacturing a new instrument.
Note on G12: Enter 'N/A' if the analysis is for conversion.
Note on G13: If certificate has a specific expiry date, or has a cancellation or withdrawal date, enter it here. Otherwise (where the certificate only has a 'due for review' date or has no review date stated) enter 9/9/9999 here - check first to ensure the certificate has not been cancelled or withdrawn.

## Load cell and indicator specs
NATIONAL MEASUREMENT INSTITUTE
Ver 21
LOAD CELL SPECIFICATIONS
|  | Supplementary Certificate of Approval no.: | S
|  | Supplementary Certificate of Approval expiry date: |  |  | (dd/mm/yy)
Make:
|  | Model: | [5 empty] | cell m factor
|  | Output type: |  |  |  | Select analogue or digital load cell.
|  | Maximum capacity: |  |  | kg |  |  | 1
|  | Maximum number of verification scale intervals: |  |  | grads
|  | Minimum value of verification scale interval: |  |  | kg
|  | Minimum deadload output return: |  |  | kg
|  | Output rating (nominal): |  |  | mV/V
|  | Input impedance: |  |  | W
|  | Supply voltage (AC or DC): |  |  | V
|  | Does load cell require linearisation ? |  | No
Do not complete this field.
INDICATOR SPECIFICATIONS
|  | Supplementary Certificate of Approval no.: | S
|  | Supplementary Certificate of Approval expiry date: |  |  | (dd/mm/yy)
Make:
Model:
|  | Maximum number of verification scale intervals: |  |  | grads
|  | Minimum sensitivity: |  |  | mV/grad
|  | Excitation voltage: |  |  | V
|  | Minimum load impedance: |  |  | W
|  | Maximum excitation current: |  |  | mA
|  |  |  | No |  | Do not complete this field.
Do not complete this field.
|  |  |  | No |  | Do not complete this field.
Do not complete this field.
Note on I8: If certificate has a specific expiry date, or has a cancellation or withdrawal date, enter it here. Otherwise (where the certificate only has a 'due for review' date or has no review date stated) enter 9/9/9999 here - check first to ensure the certificate has not been cancelled or withdrawn.
Note on I27: If certificate has a specific expiry date, or has a cancellation or withdrawal date, enter it here. Otherwise (where the certificate only has a 'due for review' date or has no review date stated) enter 9/9/9999 here - check first to ensure the certificate has not been cancelled or withdrawn.
Note on I31: To be used with digital load cells, the number of verification scale intervals (VSI) of the indicator is equal to the number of VSI of the digital load cell used.

## 6B0 Analysis
NATIONAL MEASUREMENT INSTITUTE
Ver 21
| 6B/0 ANALYSIS | [12 empty] | Ver 21
|  | A. | Certificate Expiry Dates |  | for date of: | date not entered | [5 empty] | result
(dd/mm/yy)
|  |  | Instrument: |  |  | N/A | [7 empty] | #VALUE! | 0
|  |  | Load cells: |  |  | N/A |  |  |  | 0 |  |  |  | #VALUE! | 0
|  |  | Indicator: |  |  | N/A |  |  |  | 0 |  |  |  | #VALUE! | 0
[10 empty] | 0 |  | NOT ACCEPTABLE |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | B. | Linearisation | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Load cell does not require linearisation: |  |  | ACCEPTABLE |  |  |  | 1 |  | ACCEPTABLE |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | C. | Suitability of Indicator for Type and Number of Ranges Selected | [6 empty] | 1 |  | ACCEPTABLE |  | #VALUE! | 0
[9 empty] | Suitability of indicator |  |  |  |  | #VALUE! | 0
|  |  | Singe range: |  |  | ACCEPTABLE |  |  | 0 | 0 | 0 |  |  | #VALUE! | 0
[9 empty] | 0 | 0 | 0 |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.1 | Dead Load | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Dead load per cell must be >= 1% of load cell max. cap. | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Dead load of platform = |  |  | 0 | kg |  | % applied |  |  |  |  | #VALUE! | 0
|  |  | Dead load per cell as % of load cell max. cap. = |  |  | #DIV/0! | % |  | 1 |  |  |  |  | #VALUE! | 0
|  |  | Minimum permissable dead load = |  |  | 0 | kg | [6 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0
[14 empty] | #VALUE! | 0
|  | 6.2 | Loaded Capacity of the Load Cell(s) | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | (i) For 6 or more cells: |  |  |  | Does not apply. | [6 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Max. cap. of load cell >= (max. cap. of instrument + dead load) / (N-2)*H/J | [5 empty] | maxdl_i |  |  |  |  | #VALUE! | 0
[9 empty] | 0 |  |  |  |  | #VALUE! | 0
|  |  | RESULT: |  |  |  | N/A |  |  | 0 | multi max |  |  | #VALUE! | 0
[11 empty] | FALSE |  |  | #VALUE! | 0
|  |  | (ii) For up to 5 load cells or for hopper weighing instruments: | [7 empty] | max_used |  |  | #VALUE! | 0
[11 empty] | 0 |  | in kg, ie., adusted | #VALUE! | 0
|  |  | Max. cap. of load cell >= (max. cap. of instrument + dead load) / N | [5 empty] | max dl_ii |  |  |  |  | #VALUE! | 0
[9 empty] | 0 |  |  |  |  | #VALUE! | 0
|  |  | RESULT: |  |  |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0! | 0
[14 empty] | #VALUE! | 0
|  |  | (iii) For lever / load cell instruments: |  |  |  | Does not apply. | [6 empty] | #VALUE! | 0
[9 empty] | max dl_iii |  |  |  |  | #VALUE! | 0
|  |  | Max. cap. of load cell >= (max. cap. of instrument/R) + dead load | [5 empty] | #DIV/0! |  |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | N/A |  |  | 0 |  | #DIV/0! |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Dead load range: | [10 empty] | #VALUE! | 0
|  |  | Minimum required dead load: |  | 0 | kg | [7 empty] | #VALUE! | 0
|  |  | Maximum permissable dead load: |  | #DIV/0! | kg | [7 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.3 | Number of Verification Scale Intervals for the Instrument | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.3.1 | Single range: | [10 empty] | #VALUE! | 0
[11 empty] | 0 |  |  | #VALUE! | 0
|  |  | No. e instrument: | [7 empty] | 0 |  |  | #VALUE! | 0
|  |  | Max no. e load cell(s): | 0 | [9 empty] | #VALUE! | 0
|  |  | Max no. e indicator: | 0 | [6 empty] | 0 |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | No. e for instrument / load cell / indicator combination OK ? |  |  |  | Yes |  |  | 1 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Complies with table 3 of NMI R76-1 for class 3 instruments ? |  |  |  | No |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | NOT ACCEPTABLE |  |  | 0 |  |  |  | 1 | 1
[14 empty] | #VALUE! | 0
|  | 6.3.2 | Multiple range or multi-interval |  | Does not apply. | [8 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | No. e1 instrument: | [10 empty] | #VALUE! | 0
|  |  | No. e2 instrument: | [10 empty] | #VALUE! | 0
|  |  | No. e3 instrument: | [10 empty] | #VALUE! | 0
|  |  | No. e4 instrument: | [10 empty] | #VALUE! | 0
|  |  | Max no. e load cell(s): | 0 | [9 empty] | #VALUE! | 0
|  |  | Max no. e indicator: | 0 | [9 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | No. e for instrument / load cell / indicator combination OK ? |  |  |  | N/A |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Complies with table 3 of NMI R76-1 for class 3 instruments ? |  |  |  | N/A |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Complies with e1 < e2 < e3, ….. |  | N/A |  |  |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | N/A |  |  | 0 |  |  |  | #VALUE! | 0
|  | 6.3.2.1 | Multiple range | Does not apply. | [5 empty] | 0 | sum |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Dead load return requirement: | [7 empty] | 1 | NOT ACCEPTABLE |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Complies with DR ≤ e1/R*sqrt(N) |  | N/A |  |  |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | N/A |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.3.2.2 | Multi-interval | Does not apply. | [9 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Dead load return requirement: | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Complies with DR ≤ 0.5*e1/R*sqrt(N): |  | N/A |  |  |  |  | 0 |  | ACCEPTABLE |  | #VALUE! | 0
|  |  | Complies with NMI R76-1 Table 4: |  | N/A |  |  |  |  | 0 |  |  |  | #VALUE! | 0
|  |  | RESULT: |  |  |  | N/A |  |  | 0 |  |  |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.4 | Minimum Value of Verification Scale Interval for the Load Cell | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Min. value of VSI for the load cell ≤ (Value VSI for Instrument) / R * sqrt(N) | [7 empty] | Value_e_used |  |  | #VALUE! | 0
[11 empty] | 0 |  |  | #VALUE! | 0
|  |  | RESULT: |  |  |  | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.5 | Minimum Sensitivity of the Digital Indicator | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Min. Sens. <= (Exc.V. x Load cell sensitivity x Load ratio) / No. VSI for inst. | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0
[7 empty] | #DIV/0! | [6 empty] | #DIV/0! | 0
[14 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  | 6.6 | Load Cell Impedance | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | Load cell impedance >= Vexc x N / (Max. Exc Current) | [10 empty] | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | RESULT: |  |  |  | #DIV/0! | [6 empty] | #DIV/0! | 0
[10 empty] | #DIV/0! |  | #DIV/0! |  | #VALUE! | 0
[14 empty] | #VALUE! | 0
|  |  | OVERALL RESULT: |  |  |  | NOT ACCEPTABLE | [6 empty] | #REF! | 0
[14 empty] | #VALUE! | 0
Note: 'Acceptable' is in regard to calculations included in this spreadsheet only. All requirements of 6B/0 need to be considered.
[10 empty] | #DIV/0! | SUM |  |  |  | 1

## Report - single range
Ver 21
ANALYSIS REPORT ON 6B/0 CALCULATIONS
|  |  | Report no.: | 0
|  |  | Submittor : | 0
Conversion Certificate of Approval no.:
Basework
|  |  | Instrument Certificate of Approval no.: | 0
|  |  | Model type: | 0
|  |  | Operation: | Manufacture of new instrument
|  |  | Capacity type: | Single range
|  |  | Type of instrument: | Full load cell
|  |  | Type of receptor: | Platform
|  |  | Instrument maximum capacity (kg): | 0
|  |  | Instrument verification scale interval (VSI) (kg): | 0
|  |  | Platform length (m): | 0
|  |  | Platform width (m): | 0
|  |  | Dead load (kg): | 0
|  |  | Number of loadcells (N): | 0
|  |  | Lever ratio (R): | n/a
Single range
|  |  | Maximum capacity (kg) | e (kg)
|  |  | 0 | 0
Loadcell
|  |  | Supplementary Certificate of Approval No.: S | 0
|  |  | Make: | 0
|  |  | Model: | 0
|  |  | Maximum capacity (kg): | 0
Indicator
|  |  | Supplementary Certificate of Approval No.: S | 0
|  |  | Make: | 0
|  |  | Model: | 0
RESULTS OF CALCULATIONS
|  |  | Certificate expiry dates: | NOT ACCEPTABLE
|  |  | Linearisation: | ACCEPTABLE
|  |  | Suitability of indicator for type and no. of ranges: | ACCEPTABLE
|  |  | Dead load: | #DIV/0!
|  |  | Loaded capacity of the load cell(s): | #DIV/0!
|  |  | Number of VSI for the instrument: | NOT ACCEPTABLE
|  |  | Minimum value of VSI for the load cell(s): | #DIV/0!
|  |  | Minimum sensitivity of the indicator: | #DIV/0!
|  |  | Load cell impedance/indicator output current: | #DIV/0!
|  |  | OVERALL RESULT: | NOT ACCEPTABLE
Note: 'Acceptable' is in regard to calculations included in this spreadsheet only. All requirements of 6B/0 need to be considered.
|  | Name: | 0
|  | Position: | 0
|  | Company: | 0
|  | Date (dd/mm/yy): | date not entered

## Report - 2 range or interval
Ver 21
ANALYSIS REPORT ON 6B/0 CALCULATIONS
VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID
|  |  |  | Report no.: | 0
|  |  |  | Submittor: | 0
Conversion Certificate of Approval no.:
Basework
|  |  |  | Instrument Certificate of Approval no.: | 0
|  |  |  | Model type: | 0
|  |  |  | Operation: | Manufacture of new instrument
|  |  |  | Capacity type: | Single range
|  |  |  | Type of instrument: | Full load cell
|  |  |  | Type of receptor: | Platform
|  |  |  | Instrument maximum capacity (kg): | 0
|  |  |  | Instrument verification scale interval (VSI) (kg): | 0
|  |  |  | Platform length (m): | 0
|  |  |  | Platform width (m): | 0
|  |  |  | Dead load (kg): | 0
|  |  |  | Number of loadcells (N): | 0
|  |  |  | Lever ratio (R): | n/a
Multiple range/Multi-interval
|  |  | from (kg) | to (kg) | e (kg)
|  | Range 1: | 0 | 0 | 0
|  | Range 2: | 0 | 0 | 0
Loadcell
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
|  |  |  | Maximum capacity (kg): | 0
Indicator
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
RESULTS OF CALCULATIONS
|  |  |  | Certificate expiry dates: | NOT ACCEPTABLE
|  |  |  | Linearisation: | ACCEPTABLE
|  |  |  | Suitability of indicator for type and no. of ranges: | ACCEPTABLE
|  |  |  | Dead load: | #DIV/0!
|  |  |  | Loaded capacity of the load cell(s): | #DIV/0!
|  |  |  | Number of VSI for the instrument: | NOT ACCEPTABLE
|  |  |  | Multiple range/multi-interval, DR value, etc: | ACCEPTABLE
|  |  |  | Minimum value of VSI for the load cell(s): | #DIV/0!
|  |  |  | Minimum sensitivity of the indicator: | #DIV/0!
|  |  |  | Load cell impedance/indicator output current: | #DIV/0!
|  |  |  | OVERALL RESULT: | NOT ACCEPTABLE
Note: 'Acceptable' is in regard to calculations included in this spreadsheet only. All requirements of 6B/0 need to be considered.
|  |  | Name: | 0
|  |  | Position: | 0
|  |  | Company: | 0
|  |  | Date (dd/mm/yy): | date not entered

## Report - 3 range or interval
Ver 21
ANALYSIS REPORT ON 6B/0 CALCULATIONS
VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID
|  |  |  | Report no.: | 0
|  |  |  | Submittor: | 0
Conversion Certificate of Approval no.:
Basework
|  |  |  | Instrument Certificate of Approval no.: | 0
|  |  |  | Model type: | 0
|  |  |  | Operation: | Manufacture of new instrument
|  |  |  | Capacity type: | Single range
|  |  |  | Type of instrument: | Full load cell
|  |  |  | Type of receptor: | Platform
|  |  |  | Instrument maximum capacity (kg): | 0
|  |  |  | Instrument verification scale interval (VSI) (kg): | 0
|  |  |  | Platform length (m): | 0
|  |  |  | Platform width (m): | 0
|  |  |  | Dead load (kg): | 0
|  |  |  | Number of loadcells (N): | 0
|  |  |  | Lever ratio (R): | n/a
Multiple range/Multi-interval
|  |  | from (kg) | to (kg) | e (kg)
|  | Range 1: | 0 | 0 | 0
|  | Range 2: | 0 | 0 | 0
|  | Range 3: | 0 | 0 | 0
Loadcell
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
|  |  |  | Maximum capacity (kg): | 0
Indicator
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
RESULTS OF CALCULATIONS
|  |  |  | Certificate expiry dates: | NOT ACCEPTABLE
|  |  |  | Linearisation: | ACCEPTABLE
|  |  |  | Suitability of indicator for type and no. of ranges: | ACCEPTABLE
|  |  |  | Dead Load: | #DIV/0!
|  |  |  | Loaded capacity of the Load cell(s): | #DIV/0!
|  |  |  | Number of VSI for the instrument: | NOT ACCEPTABLE
|  |  |  | Multiple range/multi-interval, DR value, etc: | ACCEPTABLE
|  |  |  | Minimum value of VSI for the Load cell(s): | #DIV/0!
|  |  |  | Minimum sensitivity of the indicator: | #DIV/0!
|  |  |  | Load cell impedance/indicator output current: | #DIV/0!
|  |  |  | OVERALL RESULT: | NOT ACCEPTABLE
Note: 'Acceptable' is in regard to calculations included in this spreadsheet only. All requirements of 6B/0 need to be considered.
|  |  | Name: | 0
|  |  | Position: | 0
|  |  | Company: | 0
|  |  | Date (dd/mm/yy): | date not entered

## Report - 4 range or interval
Ver 21
ANALYSIS REPORT ON 6B/0 CALCULATIONS
VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID, VOID
|  |  |  | Report no.: | 0
|  |  |  | Submittor: | 0
Conversion Certificate of Approval no.:
Basework
|  |  |  | Instrument Certificate of Approval no.: | 0
|  |  |  | Model type: | 0
|  |  |  | Operation: | Manufacture of new instrument
|  |  |  | Capacity type: | Single range
|  |  |  | Type of instrument: | Full load cell
|  |  |  | Type of receptor: | Platform
|  |  |  | Instrument maximum capacity (kg): | 0
|  |  |  | Instrument verification scale interval (VSI) (kg): | 0
|  |  |  | Platform length (m): | 0
|  |  |  | Platform width (m): | 0
|  |  |  | Dead load (kg): | 0
|  |  |  | Number of loadcells (N): | 0
|  |  |  | Lever ratio (R): | n/a
Multiple range/Multi-interval
|  |  | from (kg) | to (kg) | e (kg)
|  | Range 1: | 0 | 0 | 0
|  | Range 2: | 0 | 0 | 0
|  | Range 3: | 0 | 0 | 0
|  | Range 4: | 0 | 0 | 0
Loadcell
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
|  |  |  | Maximum capacity (kg): | 0
Indicator
|  |  |  | Supplementary Certificate of Approval No.: S | 0
|  |  |  | Make: | 0
|  |  |  | Model: | 0
RESULTS OF CALCULATIONS
|  |  |  | Certificate expiry dates: | NOT ACCEPTABLE
|  |  |  | Linearisation: | ACCEPTABLE
|  |  |  | Suitability of indicator for type and no. of ranges: | ACCEPTABLE
|  |  |  | Dead load: | #DIV/0!
|  |  |  | Loaded capacity of the load cell(s): | #DIV/0!
|  |  |  | Number of VSI for the instrument: | NOT ACCEPTABLE
|  |  |  | Multiple range/multi-interval, DR value, etc: | ACCEPTABLE
|  |  |  | Minimum value of VSI for the load cell(s): | #DIV/0!
|  |  |  | Minimum sensitivity of the indicator: | #DIV/0!
|  |  |  | Load cell impedance/indicator output current: | #DIV/0!
|  |  |  | OVERALL RESULT: | NOT ACCEPTABLE
Note: 'Acceptable' is in regard to calculations included in this spreadsheet only. All requirements of 6B/0 need to be considered.
|  |  | Name: | 0
|  |  | Position: | 0
|  |  | Company: | 0
|  |  | Date (dd/mm/yy): | date not entered

## Lookup (hidden)
mass units (t=1, kg =2) |  | operation |  | instrument type
t | 2 | Manufacture of new instrument | 1 | Full load cell | 1
kg | 1 | Conversion of existing instrument - replace load cells |  | Lever / load cell
| 2 | Conversion of existing instrument - replace indicator
| 2 | Conversion of existing instrument - replace cells and indicator
| 2 |  |  | range type
2
|  |  |  | Single range | 1
Multiple range
Multi-interval
Linearisation
|  | Yes | 2
|  | No | 2
1
range type 2
|  |  | Yes | 2
No
receptor type
|  |  | Platform | 1
Hopper
load cell output
Analogue
Digital

## Revision History
Date | By | New Version | Reason
2004-03-02 | C Davies | Ver 7 | Corrected error in sheet "6B0 Analysis" cell G106, in which the 0.5 factor was on the wrong side of the equation.
2004-09-28 | S Dignan | Ver 8 | Corrected error in sheet "6B0 Analysis" cell I132, in which brackets around (ind_max_I*0.001) were missing.
2004-10-12 | C Davies | Ver 9 | Changed references to National Standards Commission to National Measurement Institute & NSC to NMI/NSC.
2005-09-29 | S Dignan | Ver 10 | Changed format of Date in sheet "Instrument specs" cell G13 from system settings format to 'short date' (eg., 12/10/05) format. This prevents display of '####' when a long date format is default in system settings
2006-03-20 | S Dignan | Ver 11 | Fixed issue with protectiuon on combo boxes which prevented changes being made
2006-08-02 | C Davies | Ver 12 | Altered formulas so that > or < conditions are >= or <= conditions (in 6.1, 6.2, 6.5, 6.6).
2007-01-22 | S Dignan | Ver 13 | Update front sheet by inserting new terms and conditions of use.
2008-01-22 | C Davies | Ver 14 | Added Notes regarding the meaning of 'Acceptable'. Other aspects of 6/B0 need to be considered.
2008-11-21 | Y Chen | Ver 15 | Altered formulas so that >= or <= conditions are > or < conditions (in 6.3.1).
2010-01-18 | C Davies | Ver 16 | Added comments to 'Expiry Dates' fields, to address entry of 'Due for Review' dates.
2011-10-07 | C Davies | Ver 17 | Added TODAY() in Date area and Name, Position, Company at bottom of each page.
2011-10-18 | C Davies | Ver 18 | Added Date field on "Instrument specs" sheet, added notes for checking against todays date. Space for notes added.
2011-10-19 | C Davies | Ver 19 | Revised reports & calculations to more clearly show 'failures' related to multi-interval and multiple range DR issues. Added calculations re R76 table 4.
2018-03-08 | Y Chen | Ver 20 | Corrected display of Unit of measurement in sheets Report -2 range, Report - 3 range and Report 4 -range
2021-08-06 | Y Chen | Ver 21 | Added a selection of analogue or digital load cell in sheet "Cell and Indicator specs", and amended clause 6.5 and 6.6 calculations for the use of digital load cell in sheet "6B Analysis", and added Range 1, Range2 .. in Instrument Specs in sheets "Report - 2 range or interval", "Report - 3 range or interval" and "Report - 4 range or interval", and added instrument specs in sheet "Report - single range"; added warning for less 100 kg in sheet "Instrument specs" cell G35, added new NMI logo in sheet "Cover" and other areas where are identified in the computer template check form for 6B/0 Analysis Spreadsheet v21.