Variation Certificate of a Reference Material in Accordance with Regulation 49 of the National Measurement Regulations 1999 in Accordance with the National Measurement Act 1960

This variation certificate is to be read in conjunction with 
certificate number ………………  dated ………………

Name of certifying authority

Address1

Telephone1	 Facsimile1	 Email1

Name and/or description of reference material

Permanent distinguishing marks

Date on which property values of reference material were re-established

Date of variation certificate

Date of expiry of variation certificate

Certified property value of reference material

Uncertainty of property value ±

This uncertainty has been calculated in accordance with the principles in JCGM 100: 2008 Evaluation of Measurement Data — Guide to the Expression of Uncertainty in Measurement, and gives an interval estimated to have a confidence level of 95% at the time of certification.

Any storage and/or transport information relevant to the variation certificate

Information determined necessary by the Chief Metrologist
under Regulation 52(1)(b) — NATA Agreed Traceability Statement?

Signature	 Date

Name of signatory	 Position held

Being a person, or a person representing a body, appointed as a certifying authority under Regulations 71 and 73 of the National Measurement Regulations 1999 in accordance with the National Measurement Act 1960, I hereby certify that the certification of the above reference material has been varied in accordance with the Regulations, by/under the supervision of the above-named authority.

Insert the certificate number

Insert the date

If the certificate is prepared on stationery containing this information it should not be repeated in the body of the certificate

Permanent distinguishing marks in accordance with Regulations 48 and 54 including the batch number

Date on which the certificate is signed

Including the coverage factor

Regulation 3 in the case of the certifying authority being NMI

Delete as appropriate